## Sheet1
Comparative Measurements, Charles Sturt University, Bathurst, 4 April 1998
at the NSW ASPACI 1998 Conference
Aim: to compare the accuracy several linear measurement methods and equipment.
The tests were made over two lengths along an old, worn and (in parts) broken concrete roadway.
There was some loose gravel on parts of the concrete.
The reference distances were measured using a Geodimeter. The test instruments were
aligned with the geodimeter and measurements made to the two targets. For the wheels and tapes
the measurements were made from chalk lines. The reference planes of the lasers were aligned
with the reference plane of the geodimeter.
Equipment | Dist. 1 | difference |  | Dist. 2 | difference
| (m) | (%) | (m) | (m) | (%) | (m)
Reference Geodimeter | 29.99 | reference |  | 58.72 | reference
Measuring Wheel #1 | 29.95 | -0.13338 | -0.04 | 58.7 | -0.03406 | -0.02
Ultra Lyte Laser #1 | 29.85 | -0.46682 | -0.14 | 58.59 | -0.22139 | -0.13
| 29.85 | -0.46682 | -0.14 | 58.63 | -0.15327 | -0.09
| 29.85 | -0.46682 | -0.14 | 58.62 | -0.1703 | -0.1
| 29.84 | -0.50017 | -0.15 | 58.62 | -0.1703 | -0.1
| 29.83 | -0.53351 | -0.16 | 58.63 | -0.15327 | -0.09
mean | 29.844 | -0.48683 | -0.146 | 58.618 | -0.17371 | -0.102
30 m Fibreglass Tape #1 (Freeman) | 29.98 | -0.033344 | -0.01
Measuring Wheel #2 (Kaycee) | 30.01 | 0.066689 | 0.02 | 58.85 | 0.22139 | 0.13
Ultra Lyte Laser #2 | 29.9 | -0.3001 | -0.09 | 58.69 | -0.05109 | -0.03
| 29.9 | -0.3001 | -0.09 | 58.7 | -0.03406 | -0.02
| 29.93 | -0.20007 | -0.06 | 58.72 | 0 | 0
| 29.94 | -0.16672 | -0.05 | 58.67 | -0.08515 | -0.05
| 29.93 | -0.20007 | -0.06 | 58.67 | -0.08515 | -0.05
mean | 29.92 | -0.23341 | -0.07 | 58.69 | -0.05109 | -0.03
Measuring Wheel #3 (Trumeter) | 30.1 | 0.36679 | 0.11 | 58.85 | 0.22139 | 0.13
Ultra Lyte Laser #3 | 29.9 | -0.3001 | -0.09 | 58.67 | -0.08515 | -0.05
| 29.92 | -0.23341 | -0.07 | 58.63 | -0.15327 | -0.09
| 29.89 | -0.33344 | -0.1 | 58.62 | -0.1703 | -0.1
| 29.9 | -0.3001 | -0.09 | 58.68 | -0.06812 | -0.04
| 29.91 | -0.26676 | -0.08 | 58.68 | -0.06812 | -0.04
mean | 29.904 | -0.28676 | -0.086 | 58.656 | -0.10899 | -0.064
30m Fibreglass Tape #2 (Ealan) | 29.96 | -0.10003 | -0.03
The errors in the lasers seem to be absolute rather than proportional, possibly a combination
equipment and operator error.
aspaci\measure.xls